## Curve
Littelfuse.com
Disclaimer Notice
Information furnished is believed to be accurate and reliable. However, users should independently evaluate the suitability of and test each product selected for their own applications. Littelfuse products are not designed for, and may not be used in, all applications. Read complete Disclaimer Notice at:
www.littelfuse.com/disclaimer-electronics
© 2017 Littelfuse, Inc.
Specifications subject to change without notice.
Revised: 07/10/17
PPG101B1 REV."D" (RESISTANCE VERSUS TEMPERATURE TABLE)
Temperature (°C) | Resistance (Ω) | Tolerance
|  | (±°C) | (±Ω)
-50 | 80.3063 | 0.55 | 0.21842
-49 | 80.7033 | 0.545 | 0.21636
-48 | 81.1003 | 0.54 | 0.2143
-47 | 81.497 | 0.535 | 0.21224
-46 | 81.8937 | 0.53 | 0.21018
-45 | 82.2902 | 0.525 | 0.20813
-44 | 82.6865 | 0.52 | 0.20607
-43 | 83.0828 | 0.515 | 0.20402
-42 | 83.4789 | 0.51 | 0.20197
-41 | 83.8748 | 0.505 | 0.19993
-40 | 84.2707 | 0.5 | 0.19788
-39 | 84.6663 | 0.495 | 0.19583
-38 | 85.0619 | 0.49 | 0.19379
-37 | 85.4573 | 0.485 | 0.19175
-36 | 85.8526 | 0.48 | 0.18971
-35 | 86.2478 | 0.475 | 0.18767
-34 | 86.6428 | 0.47 | 0.18563
-33 | 87.0377 | 0.465 | 0.1836
-32 | 87.4325 | 0.46 | 0.18157
-31 | 87.8271 | 0.455 | 0.17953
-30 | 88.2217 | 0.45 | 0.1775
-29 | 88.616 | 0.445 | 0.17548
-28 | 89.0103 | 0.44 | 0.17345
-27 | 89.4044 | 0.435 | 0.17142
-26 | 89.7985 | 0.43 | 0.1694
-25 | 90.1923 | 0.425 | 0.16737
-24 | 90.5861 | 0.42 | 0.16535
-23 | 90.9797 | 0.415 | 0.16333
-22 | 91.3732 | 0.41 | 0.16131
-21 | 91.7666 | 0.405 | 0.1593
-20 | 92.1599 | 0.4 | 0.15728
-19 | 92.553 | 0.395 | 0.15527
-18 | 92.9461 | 0.39 | 0.15325
-17 | 93.339 | 0.385 | 0.15124
-16 | 93.7317 | 0.38 | 0.14923
-15 | 94.1244 | 0.375 | 0.14722
-14 | 94.5169 | 0.37 | 0.14522
-13 | 94.9093 | 0.365 | 0.14321
-12 | 95.3016 | 0.36 | 0.14121
-11 | 95.6938 | 0.355 | 0.1392
-10 | 96.0859 | 0.35 | 0.1372
-9 | 96.4778 | 0.345 | 0.1352
-8 | 96.8696 | 0.34 | 0.1332
-7 | 97.2613 | 0.335 | 0.1312
-6 | 97.6529 | 0.33 | 0.1292
-5 | 98.0444 | 0.325 | 0.12721
-4 | 98.4358 | 0.32 | 0.12521
-3 | 98.827 | 0.315 | 0.12322
-2 | 99.2181 | 0.31 | 0.12123
-1 | 99.6091 | 0.305 | 0.11924
0 | 100 | 0.3 | 0.11725
1 | 100.3908 | 0.305 | 0.11917
2 | 100.7814 | 0.31 | 0.12109
3 | 101.172 | 0.315 | 0.123
4 | 101.5624 | 0.32 | 0.12492
5 | 101.9527 | 0.325 | 0.12683
6 | 102.3429 | 0.33 | 0.12875
7 | 102.733 | 0.335 | 0.13066
8 | 103.1229 | 0.34 | 0.13257
9 | 103.5128 | 0.345 | 0.13448
10 | 103.9025 | 0.35 | 0.13639
11 | 104.2921 | 0.355 | 0.13829
12 | 104.6816 | 0.36 | 0.1402
13 | 105.071 | 0.365 | 0.1421
14 | 105.4603 | 0.37 | 0.14401
15 | 105.8495 | 0.375 | 0.14591
16 | 106.2385 | 0.38 | 0.14781
17 | 106.6274 | 0.385 | 0.14971
18 | 107.0162 | 0.39 | 0.15161
19 | 107.4049 | 0.395 | 0.15351
20 | 107.7935 | 0.4 | 0.15541
21 | 108.182 | 0.405 | 0.1573
22 | 108.5703 | 0.41 | 0.1592
23 | 108.9585 | 0.415 | 0.16109
24 | 109.3467 | 0.42 | 0.16298
25 | 109.7347 | 0.425 | 0.16488
26 | 110.1225 | 0.43 | 0.16677
27 | 110.5103 | 0.435 | 0.16865
28 | 110.898 | 0.44 | 0.17054
29 | 111.2855 | 0.445 | 0.17243
30 | 111.6729 | 0.45 | 0.17431
31 | 112.0602 | 0.455 | 0.1762
32 | 112.4474 | 0.46 | 0.17808
33 | 112.8345 | 0.465 | 0.17996
34 | 113.2215 | 0.47 | 0.18184
35 | 113.6083 | 0.475 | 0.18372
36 | 113.995 | 0.48 | 0.1856
37 | 114.3817 | 0.485 | 0.18748
38 | 114.7681 | 0.49 | 0.18936
39 | 115.1545 | 0.495 | 0.19123
40 | 115.5408 | 0.5 | 0.1931
41 | 115.927 | 0.505 | 0.19498
42 | 116.313 | 0.51 | 0.19685
43 | 116.6989 | 0.515 | 0.19872
44 | 117.0847 | 0.52 | 0.20059
45 | 117.4704 | 0.525 | 0.20246
46 | 117.856 | 0.53 | 0.20432
47 | 118.2414 | 0.535 | 0.20619
48 | 118.6268 | 0.54 | 0.20805
49 | 119.012 | 0.545 | 0.20992
50 | 119.3971 | 0.55 | 0.21178
51 | 119.7821 | 0.555 | 0.21364
52 | 120.167 | 0.56 | 0.2155
53 | 120.5518 | 0.565 | 0.21736
54 | 120.9364 | 0.57 | 0.21922
55 | 121.321 | 0.575 | 0.22107
56 | 121.7054 | 0.58 | 0.22293
57 | 122.0897 | 0.585 | 0.22478
58 | 122.4739 | 0.59 | 0.22664
59 | 122.8579 | 0.595 | 0.22849
60 | 123.2419 | 0.6 | 0.23034
61 | 123.6257 | 0.605 | 0.23219
62 | 124.0095 | 0.61 | 0.23404
63 | 124.3931 | 0.615 | 0.23589
64 | 124.7766 | 0.62 | 0.23773
65 | 125.16 | 0.625 | 0.23958
66 | 125.5432 | 0.63 | 0.24142
67 | 125.9264 | 0.635 | 0.24326
68 | 126.3094 | 0.64 | 0.2451
69 | 126.6923 | 0.645 | 0.24695
70 | 127.0751 | 0.65 | 0.24878
71 | 127.4578 | 0.655 | 0.25062
72 | 127.8404 | 0.66 | 0.25246
73 | 128.2228 | 0.665 | 0.2543
74 | 128.6052 | 0.67 | 0.25613
75 | 128.9874 | 0.675 | 0.25796
76 | 129.3695 | 0.68 | 0.2598
77 | 129.7515 | 0.685 | 0.26163
78 | 130.1334 | 0.69 | 0.26346
79 | 130.5152 | 0.695 | 0.26529
80 | 130.8968 | 0.7 | 0.26711
81 | 131.2783 | 0.705 | 0.26894
82 | 131.6597 | 0.71 | 0.27076
83 | 132.0411 | 0.715 | 0.27259
84 | 132.4222 | 0.72 | 0.27441
85 | 132.8033 | 0.725 | 0.27623
86 | 133.1843 | 0.73 | 0.27805
87 | 133.5651 | 0.735 | 0.27987
88 | 133.9458 | 0.74 | 0.28169
89 | 134.3264 | 0.745 | 0.28351
90 | 134.7069 | 0.75 | 0.28533
91 | 135.0873 | 0.755 | 0.28714
92 | 135.4676 | 0.76 | 0.28896
93 | 135.8477 | 0.765 | 0.29077
94 | 136.2277 | 0.77 | 0.29258
95 | 136.6077 | 0.775 | 0.29439
96 | 136.9875 | 0.78 | 0.2962
97 | 137.3671 | 0.785 | 0.29801
98 | 137.7467 | 0.79 | 0.29981
99 | 138.1262 | 0.795 | 0.30162
100 | 138.5055 | 0.8 | 0.30342
101 | 138.8847 | 0.805 | 0.30523
102 | 139.2638 | 0.81 | 0.30703
103 | 139.6428 | 0.815 | 0.30883
104 | 140.0217 | 0.82 | 0.31063
105 | 140.4005 | 0.825 | 0.31243
106 | 140.7791 | 0.83 | 0.31423
107 | 141.1576 | 0.835 | 0.31602
108 | 141.536 | 0.84 | 0.31782
109 | 141.9143 | 0.845 | 0.31961
110 | 142.2925 | 0.85 | 0.32141
111 | 142.6706 | 0.855 | 0.3232
112 | 143.0485 | 0.86 | 0.32499
113 | 143.4264 | 0.865 | 0.32678
114 | 143.8041 | 0.87 | 0.32857
115 | 144.1817 | 0.875 | 0.33035
116 | 144.5592 | 0.88 | 0.33214
117 | 144.9366 | 0.885 | 0.33393
118 | 145.3138 | 0.89 | 0.33571
119 | 145.691 | 0.895 | 0.33749
120 | 146.068 | 0.9 | 0.33927
121 | 146.4449 | 0.905 | 0.34105
122 | 146.8217 | 0.91 | 0.34283
123 | 147.1984 | 0.915 | 0.34461
124 | 147.575 | 0.92 | 0.34639
125 | 147.9514 | 0.925 | 0.34816
126 | 148.3277 | 0.93 | 0.34994
127 | 148.704 | 0.935 | 0.35171
128 | 149.0801 | 0.94 | 0.35348
129 | 149.4561 | 0.945 | 0.35525
130 | 149.8319 | 0.95 | 0.35702
131 | 150.2077 | 0.955 | 0.35879
132 | 150.5833 | 0.96 | 0.36056
133 | 150.9589 | 0.965 | 0.36233
134 | 151.3343 | 0.97 | 0.36409
135 | 151.7096 | 0.975 | 0.36586
136 | 152.0847 | 0.98 | 0.36762
137 | 152.4598 | 0.985 | 0.36938
138 | 152.8347 | 0.99 | 0.37114
139 | 153.2096 | 0.995 | 0.3729
140 | 153.5843 | 1 | 0.37466
141 | 153.9589 | 1.005 | 0.37642
142 | 154.3334 | 1.01 | 0.37817
143 | 154.7078 | 1.015 | 0.37993
144 | 155.082 | 1.02 | 0.38168
145 | 155.4562 | 1.025 | 0.38343
146 | 155.8302 | 1.03 | 0.38519
147 | 156.2041 | 1.035 | 0.38694
148 | 156.5779 | 1.04 | 0.38869
149 | 156.9516 | 1.045 | 0.39043
150 | 157.3251 | 1.05 | 0.39218
151 | 157.6986 | 1.055 | 0.39393
152 | 158.0719 | 1.06 | 0.39567
153 | 158.4451 | 1.065 | 0.39741
154 | 158.8182 | 1.07 | 0.39916
155 | 159.1912 | 1.075 | 0.4009
156 | 159.5641 | 1.08 | 0.40264
157 | 159.9368 | 1.085 | 0.40438
158 | 160.3095 | 1.09 | 0.40611
159 | 160.682 | 1.095 | 0.40785
160 | 161.0544 | 1.1 | 0.40958
161 | 161.4267 | 1.105 | 0.41132
162 | 161.7989 | 1.11 | 0.41305
163 | 162.1709 | 1.115 | 0.41478
164 | 162.5429 | 1.12 | 0.41651
165 | 162.9147 | 1.125 | 0.41824
166 | 163.2864 | 1.13 | 0.41997
167 | 163.658 | 1.135 | 0.4217
168 | 164.0295 | 1.14 | 0.42343
169 | 164.4009 | 1.145 | 0.42515
170 | 164.7721 | 1.15 | 0.42687
171 | 165.1433 | 1.155 | 0.4286
172 | 165.5143 | 1.16 | 0.43032
173 | 165.8852 | 1.165 | 0.43204
174 | 166.256 | 1.17 | 0.43376
175 | 166.6267 | 1.175 | 0.43548
176 | 166.9972 | 1.18 | 0.43719
177 | 167.3677 | 1.185 | 0.43891
178 | 167.738 | 1.19 | 0.44062
179 | 168.1082 | 1.195 | 0.44234
180 | 168.4783 | 1.2 | 0.44405
181 | 168.8483 | 1.205 | 0.44576
182 | 169.2181 | 1.21 | 0.44747
183 | 169.5879 | 1.215 | 0.44918
184 | 169.9575 | 1.22 | 0.45089
185 | 170.3271 | 1.225 | 0.45259
186 | 170.6965 | 1.23 | 0.4543
187 | 171.0658 | 1.235 | 0.456
188 | 171.4349 | 1.24 | 0.4577
189 | 171.804 | 1.245 | 0.45941
190 | 172.1729 | 1.25 | 0.46111
191 | 172.5418 | 1.255 | 0.46281
192 | 172.9105 | 1.26 | 0.4645
193 | 173.2791 | 1.265 | 0.4662
194 | 173.6475 | 1.27 | 0.4679
195 | 174.0159 | 1.275 | 0.46959
196 | 174.3842 | 1.28 | 0.47129
197 | 174.7523 | 1.285 | 0.47298
198 | 175.1203 | 1.29 | 0.47467
199 | 175.4882 | 1.295 | 0.47636
200 | 175.856 | 1.3 | 0.47805
201 | 176.2237 | 1.305 | 0.47974
202 | 176.5912 | 1.31 | 0.48142
203 | 176.9587 | 1.315 | 0.48311
204 | 177.326 | 1.32 | 0.48479
205 | 177.6932 | 1.325 | 0.48648
206 | 178.0603 | 1.33 | 0.48816
207 | 178.4273 | 1.335 | 0.48984
208 | 178.7941 | 1.34 | 0.49152
209 | 179.1609 | 1.345 | 0.4932
210 | 179.5275 | 1.35 | 0.49488
211 | 179.894 | 1.355 | 0.49655
212 | 180.2604 | 1.36 | 0.49823
213 | 180.6267 | 1.365 | 0.4999
214 | 180.9929 | 1.37 | 0.50157
215 | 181.359 | 1.375 | 0.50325
216 | 181.7249 | 1.38 | 0.50492
217 | 182.0907 | 1.385 | 0.50659
218 | 182.4564 | 1.39 | 0.50825
219 | 182.822 | 1.395 | 0.50992
220 | 183.1875 | 1.4 | 0.51159
221 | 183.5529 | 1.405 | 0.51325
222 | 183.9181 | 1.41 | 0.51492
223 | 184.2832 | 1.415 | 0.51658
224 | 184.6483 | 1.42 | 0.51824
225 | 185.0132 | 1.425 | 0.5199
226 | 185.3779 | 1.43 | 0.52156
227 | 185.7426 | 1.435 | 0.52322
228 | 186.1072 | 1.44 | 0.52487
229 | 186.4716 | 1.445 | 0.52653
230 | 186.8359 | 1.45 | 0.52818
231 | 187.2001 | 1.455 | 0.52984
232 | 187.5642 | 1.46 | 0.53149
233 | 187.9282 | 1.465 | 0.53314
234 | 188.2921 | 1.47 | 0.53479
235 | 188.6558 | 1.475 | 0.53644
236 | 189.0194 | 1.48 | 0.53809
237 | 189.383 | 1.485 | 0.53973
238 | 189.7463 | 1.49 | 0.54138
239 | 190.1096 | 1.495 | 0.54302
240 | 190.4728 | 1.5 | 0.54466
241 | 190.8359 | 1.505 | 0.54631
242 | 191.1988 | 1.51 | 0.54795
243 | 191.5616 | 1.515 | 0.54959
244 | 191.9243 | 1.52 | 0.55122
245 | 192.2869 | 1.525 | 0.55286
246 | 192.6494 | 1.53 | 0.5545
247 | 193.0117 | 1.535 | 0.55613
248 | 193.374 | 1.54 | 0.55777
249 | 193.7361 | 1.545 | 0.5594
250 | 194.0981 | 1.55 | 0.56103
251 | 194.46 | 1.555 | 0.56266
252 | 194.8218 | 1.56 | 0.56429
253 | 195.1835 | 1.565 | 0.56592
254 | 195.545 | 1.57 | 0.56754
255 | 195.9065 | 1.575 | 0.56917
256 | 196.2678 | 1.58 | 0.57079
257 | 196.629 | 1.585 | 0.57242
258 | 196.9901 | 1.59 | 0.57404
259 | 197.351 | 1.595 | 0.57566
260 | 197.7119 | 1.6 | 0.57728
261 | 198.0726 | 1.605 | 0.5789
262 | 198.4333 | 1.61 | 0.58052
263 | 198.7938 | 1.615 | 0.58213
264 | 199.1542 | 1.62 | 0.58375
265 | 199.5145 | 1.625 | 0.58536
266 | 199.8746 | 1.63 | 0.58697
267 | 200.2347 | 1.635 | 0.58859
268 | 200.5946 | 1.64 | 0.5902
269 | 200.9544 | 1.645 | 0.59181
270 | 201.3141 | 1.65 | 0.59341
271 | 201.6737 | 1.655 | 0.59502
272 | 202.0332 | 1.66 | 0.59663
273 | 202.3925 | 1.665 | 0.59823
274 | 202.7518 | 1.67 | 0.59984
275 | 203.1109 | 1.675 | 0.60144
276 | 203.4699 | 1.68 | 0.60304
277 | 203.8288 | 1.685 | 0.60464
278 | 204.1876 | 1.69 | 0.60624
279 | 204.5463 | 1.695 | 0.60784
280 | 204.9048 | 1.7 | 0.60943
281 | 205.2632 | 1.705 | 0.61103
282 | 205.6215 | 1.71 | 0.61262
283 | 205.9798 | 1.715 | 0.61422
284 | 206.3378 | 1.72 | 0.61581
285 | 206.6958 | 1.725 | 0.6174
286 | 207.0537 | 1.73 | 0.61899
287 | 207.4114 | 1.735 | 0.62058
288 | 207.769 | 1.74 | 0.62216
289 | 208.1265 | 1.745 | 0.62375
290 | 208.4839 | 1.75 | 0.62534
291 | 208.8412 | 1.755 | 0.62692
292 | 209.1984 | 1.76 | 0.6285
293 | 209.5554 | 1.765 | 0.63008
294 | 209.9123 | 1.77 | 0.63167
295 | 210.2692 | 1.775 | 0.63324
296 | 210.6259 | 1.78 | 0.63482
297 | 210.9824 | 1.785 | 0.6364
298 | 211.3389 | 1.79 | 0.63798
299 | 211.6953 | 1.795 | 0.63955
300 | 212.0515 | 1.8 | 0.64112
301 | 212.4076 | 1.805 | 0.6427
302 | 212.7636 | 1.81 | 0.64427
303 | 213.1195 | 1.815 | 0.64584
304 | 213.4753 | 1.82 | 0.64741
305 | 213.831 | 1.825 | 0.64897
306 | 214.1865 | 1.83 | 0.65054
307 | 214.5419 | 1.835 | 0.65211
308 | 214.8972 | 1.84 | 0.65367
309 | 215.2524 | 1.845 | 0.65523
310 | 215.6075 | 1.85 | 0.6568
311 | 215.9625 | 1.855 | 0.65836
312 | 216.3173 | 1.86 | 0.65992
313 | 216.6721 | 1.865 | 0.66148
314 | 217.0267 | 1.87 | 0.66303
315 | 217.3812 | 1.875 | 0.66459
316 | 217.7356 | 1.88 | 0.66614
317 | 218.0899 | 1.885 | 0.6677
318 | 218.444 | 1.89 | 0.66925
319 | 218.7981 | 1.895 | 0.6708
320 | 219.152 | 1.9 | 0.67235
321 | 219.5058 | 1.905 | 0.6739
322 | 219.8595 | 1.91 | 0.67545
323 | 220.2131 | 1.915 | 0.677
324 | 220.5666 | 1.92 | 0.67854
325 | 220.9199 | 1.925 | 0.68009
326 | 221.2731 | 1.93 | 0.68163
327 | 221.6263 | 1.935 | 0.68317
328 | 221.9793 | 1.94 | 0.68472
329 | 222.3322 | 1.945 | 0.68626
330 | 222.6849 | 1.95 | 0.68779
331 | 223.0376 | 1.955 | 0.68933
332 | 223.3901 | 1.96 | 0.69087
333 | 223.7426 | 1.965 | 0.6924
334 | 224.0949 | 1.97 | 0.69394
335 | 224.4471 | 1.975 | 0.69547
336 | 224.7991 | 1.98 | 0.697
337 | 225.1511 | 1.985 | 0.69853
338 | 225.5029 | 1.99 | 0.70006
339 | 225.8547 | 1.995 | 0.70159
340 | 226.2063 | 2 | 0.70312
341 | 226.5578 | 2.005 | 0.70465
342 | 226.9092 | 2.01 | 0.70617
343 | 227.2605 | 2.015 | 0.7077
344 | 227.6116 | 2.02 | 0.70922
345 | 227.9627 | 2.025 | 0.71074
346 | 228.3136 | 2.03 | 0.71226
347 | 228.6644 | 2.035 | 0.71378
348 | 229.0151 | 2.04 | 0.7153
349 | 229.3657 | 2.045 | 0.71681
350 | 229.7161 | 2.05 | 0.71833
351 | 230.0665 | 2.055 | 0.71984
352 | 230.4167 | 2.06 | 0.72136
353 | 230.7668 | 2.065 | 0.72287
354 | 231.1168 | 2.07 | 0.72438
355 | 231.4667 | 2.075 | 0.72589
356 | 231.8165 | 2.08 | 0.7274
357 | 232.1661 | 2.085 | 0.72891
358 | 232.5157 | 2.09 | 0.73042
359 | 232.8651 | 2.095 | 0.73192
360 | 233.2144 | 2.1 | 0.73342
361 | 233.5636 | 2.105 | 0.73493
362 | 233.9127 | 2.11 | 0.73643
363 | 234.2616 | 2.115 | 0.73793
364 | 234.6105 | 2.12 | 0.73943
365 | 234.9592 | 2.125 | 0.74093
366 | 235.3078 | 2.13 | 0.74243
367 | 235.6563 | 2.135 | 0.74392
368 | 236.0047 | 2.14 | 0.74542
369 | 236.353 | 2.145 | 0.74691
370 | 236.7011 | 2.15 | 0.7484
371 | 237.0492 | 2.155 | 0.7499
372 | 237.3971 | 2.16 | 0.75139
373 | 237.7449 | 2.165 | 0.75288
374 | 238.0926 | 2.17 | 0.75436
375 | 238.4402 | 2.175 | 0.75585
376 | 238.7876 | 2.18 | 0.75734
377 | 239.135 | 2.185 | 0.75882
378 | 239.4822 | 2.19 | 0.7603
379 | 239.8293 | 2.195 | 0.76179
380 | 240.1763 | 2.2 | 0.76327
381 | 240.5232 | 2.205 | 0.76475
382 | 240.8699 | 2.21 | 0.76623
383 | 241.2166 | 2.215 | 0.7677
384 | 241.5631 | 2.22 | 0.76918
385 | 241.9096 | 2.225 | 0.77066
386 | 242.2559 | 2.23 | 0.77213
387 | 242.6021 | 2.235 | 0.7736
388 | 242.9481 | 2.24 | 0.77508
389 | 243.2941 | 2.245 | 0.77655
390 | 243.6399 | 2.25 | 0.77802
391 | 243.9857 | 2.255 | 0.77948
392 | 244.3313 | 2.26 | 0.78095
393 | 244.6768 | 2.265 | 0.78242
394 | 245.0221 | 2.27 | 0.78388
395 | 245.3674 | 2.275 | 0.78535
396 | 245.7126 | 2.28 | 0.78681
397 | 246.0576 | 2.285 | 0.78827
398 | 246.4025 | 2.29 | 0.78973
399 | 246.7473 | 2.295 | 0.79119
400 | 247.092 | 2.3 | 0.79265
401 | 247.4366 | 2.305 | 0.79411
402 | 247.781 | 2.31 | 0.79556
403 | 248.1254 | 2.315 | 0.79702
404 | 248.4696 | 2.32 | 0.79847
405 | 248.8137 | 2.325 | 0.79992
406 | 249.1577 | 2.33 | 0.80137
407 | 249.5016 | 2.335 | 0.80282
408 | 249.8453 | 2.34 | 0.80427
409 | 250.189 | 2.345 | 0.80572
410 | 250.5325 | 2.35 | 0.80717
411 | 250.8759 | 2.355 | 0.80861
412 | 251.2192 | 2.36 | 0.81006
413 | 251.5624 | 2.365 | 0.8115
414 | 251.9055 | 2.37 | 0.81294
415 | 252.2485 | 2.375 | 0.81438
416 | 252.5913 | 2.38 | 0.81582
417 | 252.934 | 2.385 | 0.81726
418 | 253.2766 | 2.39 | 0.8187
419 | 253.6191 | 2.395 | 0.82013
420 | 253.9615 | 2.4 | 0.82157
421 | 254.3038 | 2.405 | 0.823
422 | 254.6459 | 2.41 | 0.82443
423 | 254.9879 | 2.415 | 0.82587
424 | 255.3299 | 2.42 | 0.8273
425 | 255.6717 | 2.425 | 0.82873
426 | 256.0133 | 2.43 | 0.83015
427 | 256.3549 | 2.435 | 0.83158
428 | 256.6964 | 2.44 | 0.83301
429 | 257.0377 | 2.445 | 0.83443
430 | 257.3789 | 2.45 | 0.83585
431 | 257.72 | 2.455 | 0.83728
432 | 258.061 | 2.46 | 0.8387
433 | 258.4019 | 2.465 | 0.84012
434 | 258.7427 | 2.47 | 0.84154
435 | 259.0833 | 2.475 | 0.84295
436 | 259.4238 | 2.48 | 0.84437
437 | 259.7643 | 2.485 | 0.84579
438 | 260.1045 | 2.49 | 0.8472
439 | 260.4447 | 2.495 | 0.84861
440 | 260.7848 | 2.5 | 0.85003
441 | 261.1248 | 2.505 | 0.85144
442 | 261.4646 | 2.51 | 0.85285
443 | 261.8043 | 2.515 | 0.85425
444 | 262.1439 | 2.52 | 0.85566
445 | 262.4834 | 2.525 | 0.85707
446 | 262.8228 | 2.53 | 0.85847
447 | 263.162 | 2.535 | 0.85988
448 | 263.5012 | 2.54 | 0.86128
449 | 263.8402 | 2.545 | 0.86268
450 | 264.1791 | 2.55 | 0.86408
451 | 264.5179 | 2.555 | 0.86548
452 | 264.8566 | 2.56 | 0.86688
453 | 265.1952 | 2.565 | 0.86827
454 | 265.5336 | 2.57 | 0.86967
455 | 265.872 | 2.575 | 0.87106
456 | 266.2102 | 2.58 | 0.87246
457 | 266.5483 | 2.585 | 0.87385
458 | 266.8863 | 2.59 | 0.87524
459 | 267.2241 | 2.595 | 0.87663
460 | 267.5619 | 2.6 | 0.87802
461 | 267.8995 | 2.605 | 0.87941
462 | 268.2371 | 2.61 | 0.88079
463 | 268.5745 | 2.615 | 0.88218
464 | 268.9118 | 2.62 | 0.88356
465 | 269.249 | 2.625 | 0.88495
466 | 269.586 | 2.63 | 0.88633
467 | 269.923 | 2.635 | 0.88771
468 | 270.2598 | 2.64 | 0.88909
469 | 270.5965 | 2.645 | 0.89047
470 | 270.9331 | 2.65 | 0.89184
471 | 271.2696 | 2.655 | 0.89322
472 | 271.606 | 2.66 | 0.8946
473 | 271.9422 | 2.665 | 0.89597
474 | 272.2784 | 2.67 | 0.89734
475 | 272.6144 | 2.675 | 0.89871
476 | 272.9503 | 2.68 | 0.90008
477 | 273.2861 | 2.685 | 0.90145
478 | 273.6218 | 2.69 | 0.90282
479 | 273.9574 | 2.695 | 0.90419
480 | 274.2928 | 2.7 | 0.90555
481 | 274.6281 | 2.705 | 0.90692
482 | 274.9633 | 2.71 | 0.90828
483 | 275.2985 | 2.715 | 0.90964
484 | 275.6334 | 2.72 | 0.911
485 | 275.9683 | 2.725 | 0.91236
486 | 276.3031 | 2.73 | 0.91372
487 | 276.6377 | 2.735 | 0.91508
488 | 276.9722 | 2.74 | 0.91644
489 | 277.3066 | 2.745 | 0.91779
490 | 277.6409 | 2.75 | 0.91915
491 | 277.9751 | 2.755 | 0.9205
492 | 278.3092 | 2.76 | 0.92185
493 | 278.6431 | 2.765 | 0.9232
494 | 278.9769 | 2.77 | 0.92455
495 | 279.3107 | 2.775 | 0.9259
496 | 279.6443 | 2.78 | 0.92725
497 | 279.9777 | 2.785 | 0.92859
498 | 280.3111 | 2.79 | 0.92994
499 | 280.6444 | 2.795 | 0.93128
500 | 280.9775 | 2.8 | 0.93262